Report form for late reported test results of sample #20080

| Determination | Unit | Reference method *) | Actual method used *) | ‘Unrounded’ result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| API Gravity |  | D4052 |  |  |  |
| Aromatics by FIA **) | %V/V | D1319 |  |  |  |
| Aromatics by GC | %V/V | ISO22854 |  |  |  |
| Benzene | %V/V | ISO22854 |  |  |  |
| Copper corrosion 3hrs at 50°C |  |  |  |  |  |
| Density at 15°C | kg/m3 | ISO12185 |  |  |  |
| Distillation at 760 mm Hg | Manual or Automatic M / A ****) |  |  |  |  |
| - Initial Boiling Point | °C | D86 |  |  |  |
| - Temp. at 10% evaporated | °C | D86 |  |  |  |
| - Temp. at 50% evaporated | °C | D86 |  |  |  |
| - Temp. at 90% evaporated | °C | D86 |  |  |  |
| - Final Boiling Point | °C | D86 |  |  |  |
| - % evaporated at 70°C | %V/V | D86 |  |  |  |
| - % evaporated at 100°C | %V/V | D86 |  |  |  |
| - % evaporated at 150°C | %V/V | D86 |  |  |  |
| - Distillation Residue | %V/V |  |  |  |  |
| Doctor test |  |  |  |  |  |
| Existent Gum (solvent washed) | mg/100mL | D381 |  |  |  |
| Lead as Pb | mg/L | D3237 |  |  |  |
| Manganese as Mn | mg/L | D3831 |  |  |  |
| Mercaptan Sulfur as S | %M/M | D3227 |  |  |  |
| Olefins by FIA **) | %V/V | D1319 |  |  |  |
| Olefins by GC | %V/V | ISO22854 |  |  |  |
| Oxidation Stability ***) | minutes | D525 |  |  |  |

*) 	Please see the letter of instructions before the start of the tests at www.kpmd.co.uk/sgs-iis/

**) 	Without oxygenates correction

***) 	Only report ”>” when above 900 minutes as ”>900”, otherwise report a real breakpoint

****)	Please, circle the right option

Please note the report form continues on the next page.

Report form for late reported test results of sample #20080 -continued

| Determination | Unit | Reference method *) | Actual method used *) | ‘Unrounded’ result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Oxygenates |  |  |  |  |  |
| - DIPE | %V/V | ISO22854 |  |  |  |
| - ETBE | %V/V |  |  |  |  |
| - Ethanol | %V/V |  |  |  |  |
| - Ethers (C5 only) | %V/V |  |  |  |  |
| - Ethers (C5 or more C atoms) | %V/V |  |  |  |  |
| - Ethers (C6 or more C atoms) | %V/V |  |  |  |  |
| - Isobutanol | %V/V |  |  |  |  |
| - Isopropanol | %V/V |  |  |  |  |
| - Methanol | %V/V | ISO22854 |  |  |  |
| - MTBE | %V/V | ISO22854 |  |  |  |
| - TAME | %V/V | ISO22854 |  |  |  |
| - tert. Butanol | %V/V |  |  |  |  |
| - Other Oxygenates | %V/V |  |  |  |  |
| Oxygen content | %M/M | ISO22854 |  |  |  |
| Sulfur | mg/kg | ISO20846 |  |  |  |

*) 	Please see the letter of instructions before the start of the tests at www.kpmd.co.uk/sgs-iis/

Please note the Additional Questions on the next page.

Report form for late reported test results: Additional Questions  (when applicable)

About Aromatics & Olefins by FIA (e.g. ASTM D1319 or ISO22854) determination:

What is the lot number of the fluorescent indicator you used?

___________________________________________________

Please specify for method ISO22854 which procedure was used:

○ ISO22854-A

○ ISO22854-B

About Automated Distillation (e.g. ASTM D86 or ISO3405):

What is the manufacturer name of the distillation device you used?

___________________________________________________

What is the manufacturer type of the distillation device you used?

___________________________________________________

Remarks on Additional Questions:

___________________________________________________