Report form A for late reported test results of sample #20066

| Determination | Unit | Reference method *) | Actual method used *) | ’Unrounded’ result *) | ’Rounded’ result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Acid Number (Total) ***) | mg KOH/g | D664-A |  |  |  |
| Air Release time at 50°C | minutes | D3427 |  |  |  |
| Density at 15°C | kg/L | ISO12185 |  |  |  |
| Flash Point C.O.C. | °C | D92 |  |  |  |
| Foaming Tendency ***) |  |  |  |  |  |
| - Sequence I (5min. blowing period) | mL | D892 |  |  |  |
| - Sequence II (5min. blowing period) | mL | D892 |  |  |  |
| - Sequence III (5min. blowing period) | mL | D892 |  |  |  |
| Foam Stability ***) |  |  |  |  |  |
| - Sequence I (10min. settling period) | mL | D892 |  |  |  |
| - Sequence II (10min. settling period) | mL | D892 |  |  |  |
| - Sequence III (10min. settling period) | mL | D892 |  |  |  |
| Kinematic Viscosity at 40°C | mm2/s | D445 |  |  |  |
| Kinematic Viscosity at 100°C | mm2/s | D445 |  |  |  |
| Viscosity Index |  | D2270 |  |  |  |
| Pour Point, Manual | °C | D97 |  |  |  |
| Pour Point, Automated, 1°C interval | °C | D5950 |  |  |  |
| Sulfur | mg/kg | D4294 |  |  |  |
| Water | Procedure used: A / B / C **) |  |  |  |  |
| Water | mg/kg | D6304 |  |  |  |

*)	Please see the letter of instructions before the start of the tests at www.kpmd.co.uk/sgs-iis/

**)	Please, circle the right option

- ***) Please answer the additional questions about Acid Number (ASTM D664) and/or Foaming Characteristics if the determination is performed (see final page)

This table continues on the next page

Report form B for late reported test results of sample #20066 - Continued

| Determination | Unit | Reference method *) | Actual method used *) | ’Unrounded’ result *) | ’Rounded’ result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- |
| Water Separability at 54°C | Distilled water |  |  |  |  |
| - Time to reach 3 mL or less emulsion | minutes | D1401 |  |  |  |
| - Time to reach 37 mL of water | minutes | D1401 |  |  |  |
| - Time to reach complete break (40-40-0) | minutes |  |  |  |  |
| - Test aborted | NO / YES **) |  |  |  |  |
| - Time test aborted | min |  |  |  |  |
| - Volume of oil phase | mL ml |  |  |  |  |
| - Volume of water phase | mL |  |  |  |  |
| - Volume of emulsion phase | mL |  |  |  |  |
| Elemental Analyzes |  |  |  |  |  |
| Calcium as Ca | mg/kg | D5185 |  |  |  |
| Phosphorus as P | mg/kg | D5185 |  |  |  |
| Zinc as Zn | mg/kg | D5185 |  |  |  |

*)	Please see the letter of instructions before the start of the tests at www.kpmd.co.uk/sgs-iis/

**)	Please, circle the right option

- Please answer the additional questions about Acid Number (ASTM D664) and/or Foaming Characteristics if the determination is performed (see next page)

Report form C for late reported test results

Additional Questions

About Acid Number (ASTM D664):

What was the volume of the titration solvent?

- 60 mL

- 125 mL

How was the end point determined?

- Inflection Point

- Buffer End Point (pH 10)

- Buffer End Point (pH 11)

About Foaming Characteristics:

How was the sample used?

- As received

- After agitation (option A)

- Other, please specify below.

What type of diffuser was used?

- Metal (Stainless Steel)

- Stone (Non-Metallic)

Remarks on additional questions: