Report form for late reported test results

Please take care to use the following **fixed test conditions:**

|  |  |
| --- | --- |
| Sample **#20675** | **3 identical** plastic disposable knifes |
| Simulant | 3% M/V acetic acid |
| Time of exposure | 2 hours |
| Temperature of exposure | 70°C |
| Method of migration | **Total immersion, single use \*)** |
| Volume of simulant | as per method used |

\*) Please see the letter of instructions before the start of the tests at [www.kpmd.co.uk/sgs-iis-cts/](http://www.kpmd.co.uk/sgs-iis-cts/)

**Sample #20675: 3 identical plastic disposable knifes**

| Determination | Unit | Reference method \*) | Actual method used \*) | Unrounded result \*) | Rounded result *cfr.* used standard \*) |
| --- | --- | --- | --- | --- | --- |
| **knife 1:** |  |  |  |  |  |
| Total residue after evaporation of the simulant | mg |  |  |  |  |
| Overall Migration (per contact surface) | mg/dm2 |  |  |  |  |
| Exposed contact surface area | dm² |  |  |  |  |
| Volume of simulant | mL |  |  |  |  |
| **knife 2:** |  |  |  |  |  |
| Total residue after evaporation of the simulant | mg |  |  |  |  |
| Overall Migration (per contact surface) | mg/dm2 |  |  |  |  |
| Exposed contact surface area | dm² |  |  |  |  |
| Volume of simulant | mL |  |  |  |  |

**This table continues on the next page.**

**Sample #20675: 3 identical plastic disposable knifes - continued**

| Determination | Unit | Reference method \*) | Actual method used \*) | Unrounded result \*) | Rounded result *cfr.* used standard \*) |
| --- | --- | --- | --- | --- | --- |
| **knife 3:** |  |  |  |  |  |
| Total residue after evaporation of the simulant | mg |  |  |  |  |
| Overall Migration (per contact surface) | mg/dm2 |  |  |  |  |
| Exposed contact surface area | dm² |  |  |  |  |
| Volume of simulant | mL |  |  |  |  |
| **average:** |  |  |  |  |  |
| Overall Migration (per contact surface) | mg/dm2 | EN1186 |  |  |  |

\*) Please see the letter of instructions before the start of the tests at [www.kpmd.co.uk/sgs-iis-cts/](http://www.kpmd.co.uk/sgs-iis-cts/)

**Please see the next page for the Additional Questions.**

**Additional Questions**

1. Is your laboratory accredited in accordance with ISO/IEC17025 to determine the reported component(s)?

0 No

0 Yes

2. Was the sample cleaned prior to the migration step?

0 No

1. Yes, please specify what was used: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

3. How was the sample exposed to the simulant?

0 The sample was used as received (one sample per determination)

1. The sample was further cut, all pieces of one sample were used per determination

0 The sample was further cut, but only a part of a sample was used per determination

0 Other, please specify: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

4. Which equipment was used for the Migration Step?

0 Oven

0 Incubator

1. Water bath

0 Other, please specify what was used: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

5. How long in minutes took the evaporation of the simulant to low volume?

6. At which temperature in °C was the evaporation of the simulant to low volume done?

7. Remarks on Additional Questions: