Report form for late reported test results of sample #20055

Please report the cylinder number: ___________

| Determination | Unit | Reference method *) |  | Actual method used *) |  | ‘Unrounded’ result *) | Rounded result cfr. used standard *) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Composition (Normalized) |  |  |  |  |  |  |  |
| - Methane | %mol/mol | ISO6974-3 |  |  |  |  |  |
| - Ethane | %mol/mol | ISO6974-3 |  |  |  |  |  |
| - Propane | %mol/mol | ISO6974-3 |  |  |  |  |  |
| - iso-Butane | %mol/mol | ISO6974-3 |  |  |  |  |  |
| - n-Butane | %mol/mol | ISO6974-3 |  |  |  |  |  |
| - Carbon Dioxide | %mol/mol | ISO6974-3 |  |  |  |  |  |
| - Nitrogen | %mol/mol | ISO6974-3 |  |  |  |  |  |
| - Carbon content | g/100g | EN15984 |  |  |  |  |  |
| Real Gas **) Physical properties 101.325 kPa, combustion temp. 25°C, metering temp. 0°C |  |  |  |  |  |  |  |
| Gross (Superior) Caloric Value | MJ/m3 |  |  |  |  |  |  |
| Net (Inferior) Caloric Value | kJ/100g |  |  |  |  |  |  |
| Density | kg/m3 |  |  |  |  |  |  |
| Relative Density |  |  |  |  |  |  |  |
| Gross Wobbe Index | MJ/m3 |  |  |  |  |  |  |
| Real Gas **) Physical properties 101.325 kPa, combustion temp. 15°C, metering temp. 15°C |  |  |  |  |  |  |  |
| Gross (Superior) Caloric Value | MJ/m3 |  |  |  |  |  |  |
| Net (Inferior) Caloric Value | kJ/100g |  |  |  |  |  |  |
| Density | kg/m3 |  |  |  |  |  |  |
| Relative Density |  |  |  |  |  |  |  |
| Gross Wobbe Index | MJ/m3 |  |  |  |  |  |  |

*) Please see the letter of instructions before start of the tests at www.kpmd.co.uk/sgs-iis/

**) Please report Real Gas test results only, and not for ideal Gas.