To ensure homogeneity, please do not use less than 100 mg per determination.

Report form for late reported test results sample #20570: 1 bag with white plaster powder

| Element | Unit | Reference method *) | Actual method used *) | ’Unrounded’ result *) | Rounded result cfr.used standard *) |
| --- | --- | --- | --- | --- | --- |
| Aluminum as Al | mg/kg | EN71-3 |  |  |  |
| Antimony as Sb | mg/kg | EN71-3 |  |  |  |
| Arsenic as As | mg/kg | EN71-3 |  |  |  |
| Barium as Ba | mg/kg | EN71-3 |  |  |  |
| Boron as B | mg/kg | EN71-3 |  |  |  |
| Cadmium as Cd | mg/kg | EN71-3 |  |  |  |
| Chromium (III) | mg/kg | EN71-3 |  |  |  |
| Chromium (VI) | mg/kg | EN71-3 |  |  |  |
| Cobalt as Co | mg/kg | EN71-3 |  |  |  |
| Copper as Cu | mg/kg | EN71-3 |  |  |  |
| Lead as Pb | mg/kg | EN71-3 |  |  |  |
| Manganese as Mn | mg/kg | EN71-3 |  |  |  |
| Mercury as Hg | mg/kg | EN71-3 |  |  |  |
| Nickel as Ni | mg/kg | EN71-3 |  |  |  |
| Selenium as Se | mg/kg | EN71-3 |  |  |  |
| Strontium as Sr | mg/kg | EN71-3 |  |  |  |
| Tin as Sn | mg/kg | EN71-3 |  |  |  |
| Organic Tin as Sn | mg/kg | EN71-3 |  |  |  |
| Zinc as Zn | mg/kg | EN71-3 |  |  |  |

*) Please see the letter of instructions before the start of the tests at www.kpmd.co.uk/sgs-iis-cts/

Report form for late reported test results

Additional Questions:

- Is your laboratory accredited in accordance with ISO/IEC17025 to determine the reported component(s)?

- No  /  Yes    (please circle the right option)

- What sample intake was used (in milligrams)?

___________________________________________________________________________

- 3.	How much (mL) 0.07 mol/L HCl solution was used?

- ________________________________________________________________________

- 4.	What was the pH of the solution after 1 minute of shaking?

- ________________________________________________________________________

- 5a	Was the pH adjusted after 1 minute of shaking?

- No  /  Yes    (please circle the right option)

- 5b	What was the pH after adjustment?

- ________________________________________________________________________

Additional Remarks:

__________________________________________________________________________