Report form for late reported test results of **sample #24043**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Determination | Unit | Reference method \*) | Actual method used \*) | Unrounded  Result \*) | Rounded  result  *cfr.* used standard \*) |
| Total Vapor Pressure | psi | D5191 |  |  |  |
| DVPE acc. to ASTM D5191 \*\*) | psi | D5191 |  |  |  |

\*) Please see the letter of instructions before the start of the tests at [www.kpmd.co.uk/sgs-iis](https://www.kpmd.co.uk/sgs-iis/)

\*\*)Please use the following formula for conversion of TVP to DVPE:

DVPE (ASTM D5191) = 0.965 x TVP - 0.548 psi (TVP = Total Vapor Pressure)