Instructions to participants for the interlaboratory study Colorants (Allergenic&Carcinogenic dyes) in textile iis16A03

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the sample receipt confirmation form that you received together with this package.

Please complete the form and send it to iis (email iisnl@sgs.com or faxno. + 31 181 694543).

*	This interlaboratory study concerns 2 different samples of textile, sample #16525 for the determination of Allergenic dyes (orange polyester textile) and #16526 for the determination of Carginogenic dyes (yellow polyester textile). You received resp. approx. 3 grams of each sample. Please treat the samples as they were routine samples and analyse them in the way you normally do in day-to-day circumstances.

*	Please report your test results via www.kpmd.co.uk/sgs-iis-cts/. Login details have been sent to you, but also can be requested via an email to iisnl@sgs.com. Please do not forget to save your results.

- *	For the determination of Colorants in textile method DIN54231 is considered to be the official test method by the majority of the participating laboratories. It is of utmost importance to know that it is NOT mandatory to use DIN54231 as test method. Please use the method you normally (routinely) use and select in the column ”Actual Method Used” the selection “Other” and write the method that you used in the comments.

*	Please report the analytical results using the indicated units. Report in the column the analytical results, analytical results less rounded than mentioned in the standard (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations. For example, when you normally report 57.2 mg/kg for Disperse Orange 1 we request you to report 57.19 mg/kg as ‘unrounded’ result.

* 	Please, complete these questions as much as possible. It will help us to evaluate the results of the proficiency test. Thank you in advance.

- *	Within a time frame of 5 weeks test results can be entered or revised. It is not needed to enter all test results in one session. Within this period you can add (or delete) test results and/or change test results or units.

*	The official closing date for reporting test results for this PT is March 18, 2016.

*	After the official closing date it is no longer possible to enter or correct test results via the data entry website www.kpmd.co.uk/sgs-iis-cts/. However, it is still possible to download the instructions from our internet site www.iisnl.com. In the case you cannot report for unforeseen reasons before the closing date, please send an email to iisnl@sgs.com.

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 69 45 41

fax.no. +31 181 69 45 43

e-mail: iisnl@sgs.com

website: www.iisnl.com