Instructions to participants for the interlaboratory study PCP in leather iis16A06

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the sample receipt confirmation form that you received together with this package.

Please complete the form and send it to iis (email iisnl@sgs.com or faxno. + 31 181 694543).

*	This interlaboratory study concerns 1 sample of leather, sample #16545 for the determination of Pentachlorophenol (PCP), 2,3,4,5-Tetrachlorophenol, 2,3,4,6-Tetrachlorophenol and  2,3,5,6-Tetrachlorophenol. You received approx. 3 grams of each sample. Each laboratory is advised to report only those components you routinely do (but you are allowed to report all components if you like).

*	Please treat the sample as if it is a routine sample and analyse it in the way you normally do in day-to-day circumstances.

*	Please report your test results via www.kpmd.co.uk/sgs-iis-cts/ before the closing date. Login details have been sent to you, but also can be requested via an email to iisnl@sgs.com.

# *	On the report page is a column, titled “reference method”. In case a method is mentioned in this column, it will be used for the calculation of the z-scores. It is of utmost importance to know that it is NOT mandatory to use this ‘reference method’ as test method. When you normally (routinely) use a test method other than the reference method, please select the method that you used under ”Actual Method Used”. When your method is not mentioned under ”Actual Method Used”, please select “Other” and write the method that you used in the comments.

*	Please report the analytical results using the indicated units. Report in the last column the analytical results, rounded in accordance with the standard method that you used. Report in the first result column the same analytical results but less rounded (we suggest to report one or two extra significant figures) in order to give more meaningful statistical calculations. For example, when you find a result of 1.2153 mg/kg for PCP, we request you to report 1.2153 mg/kg as ‘unrounded’ result and 1.2 mg/kg as ”rounded” result.

* 	To get more background of the analytical method we asked some additional questions. Please, complete these questions as much as possible. It will help us to evaluate the results of the proficiency test. Thank you in advance.

*	Within a time frame of 5 weeks test results can be entered or revised. Within this period you can add (or delete) test results and/or change test results. Please do not forget to save your results.

*	The official closing date for reporting test results for this PT is April 29, 2016.

*	After the official closing date it is not longer possible to enter or correct test results via the data entry website www.kpmd.co.uk/sgs-iis-cts/. However, it is still possible to download the instructions from our internet site www.iisnl.com. In the case that you cannot report for unforeseen reasons before the closing date, please, send an email to iisnl@sgs.com.

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 69 45 41

fax.no. +31 181 69 45 43

e-mail: iisnl@sgs.com

website: www.iisnl.com