Instructions to participants for the interlaboratory study OPP&PCP/TCEP in Textile iis16A11

*	Please confirm sample receipt as soon as you have received this package and checked the contents, via www.kpmd.co.uk/sgs-iis-cts/. Please give date of receipt and press ”save date” button.

Please inform the Institute for Interlaboratory Studies (iis) immediately when something is wrong with the package and/or samples via iisnl@sgs.com.

*		This interlaboratory study concerns 2 different samples of Textile, #16645 and #16646 for determination of ortho-Phenylphenol (OPP), Pentachlorophenol (PCP) and Tetrachlorophenol (TCEP) content. You have received approx. 3 grams of sample #16645 and approx. 3 grams of sample #16646. You can check the test scope for sample #16645 and #16646 in round iis16A11 via www.kpmd.co.uk/sgs-iis-cts/.

*	Please treat the samples as they were routine samples and analyse them in the way you normally do in day-to-day circumstances. Each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analyses if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical. However, to ensure the homogeneity, do not use less than 0.5 gram per determination.

*	Reporting of test results

Within a time frame of five weeks test results can be entered or revised. Please report your test results

via www.kpmd.co.uk/sgs-iis-cts/. It is not necessary to enter all test results in one session. Within the time frame you can add (or delete) test results and/or change test results or units. Please do not forget to hit the “Save/Submit” button after entering the test results. It is strongly recommended to login again and to verify if all your test results are present.

- *	On the report page is a column, titled “reference method”. In case a method is mentioned in this column, it will be used for the calculation of the z-scores. It is of utmost importance to know that it is NOT mandatory to use this ‘reference method’ as test method. When you normally (routinely) use a test method other than the reference method, please select the method that you used under ”Actual Method Used”. When your method is not mentioned under ”Actual Method Used”, please select “Other” and write the method that you used in the comments.

*	Please report the analytical results using the indicated units. It is possible to report in the last column the analytical results rounded in accordance with the standard method that was used and in the first result column the same analytical results but less rounded. Please note that it is not mandatory to report both ‘rounded’ and ‘unrounded’ test results. The ‘unrounded’ test results are preferably used for our statistical evaluations. However the ‘rounded’ test results will be used in case the ‘unrounded’ test results are not reported. We suggest to report one extra significant figure in order to give more meaningful statistical calculations. For example, when you use LFGB B82.02.8 for the determination of PCP content and you found a result of 15.356 mg/kg, we request you to report 15.4 mg/kg in accordance with LFGB B82.02.8 and 15.36 or 15.356 mg/kg as ‘unrounded’ result.

* 	Please complete the additional questions.

*	The official closing date for reporting test results for this PT is December 23, 2016.

*	After the official closing date it is no longer possible to enter or correct test results via the data entry website www.kpmd.co.uk/sgs-iis-cts/. When you cannot report via the website or for unforeseen reasons cannot report before the closing date, please inform the Institute for Interlaboratory Studies (iis).

*	For all communication (e.g. problems with the package/samples, login details for the data entry portal, not reporting in time) or any remarks/questions please contact:

ing. R.J. Starink,

Institute for Interlaboratory Studies (iis)

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 69 45 41 / fax.no. +31 181 69 45 43

e-mail: iisnl@sgs.com / website: www.iisnl.com