Instructions to participants for the interlaboratory study Cetane Number & DCN in Biodiesel B100 iis16G05CN

*	Please confirm sample receipt as soon as you have received and checked the contents of this package via www.kpmd.co.uk/sgs-iis/.Please give date of receipt and press ”save date” button.

When the bottle has been broken, please do not accept the package from the courier. Please note that we will only send a replacement bottle at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottles looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.saman.iis@sgs.com.

*	This interlaboratory study concerns 2 identical samples of Biodiesel (2x1L glass bottles, both labelled #16191) for the determination of Cetane number and Derived Cetane Number based on the specification EN14214. You can check the test scope via www.kpmd.co.uk/sgs-iis/.

*	Please treat the sample as it was a routine sample.

*	Reporting of test results

Within a time frame of five weeks test results can be entered or revised. Please report your test results

via www.kpmd.co.uk/sgs-iis/. It is not necessary to enter all test results in one session. Within the time frame you can add (or delete) test results and/or change test results or units. Please do not forget to hit the “Save/Submit” button after entering the test results. It is strongly recommended to login again and to verify if all your test results are present.

- *	On the report page is a column, titled “reference method”. In case a method is mentioned in this column, it will be used for the calculation of the z-scores. It is of utmost importance to know that it is NOT mandatory to use this ‘reference method’ as test method. When you normally (routinely) use a test method other than the reference method, please select the method that you used under ”Actual Method Used”. When your method is not mentioned under ”Actual Method Used”, please select “Other” and write the method that you used in the comments.

*	Report the analytical results using the indicated units. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations. For example, when you use ISO5165 for the determination of Cetane number and you found a result of 49.653, we request you to report 49.6 in accordance with ISO5165 and 49.65 as ‘unrounded’ result.

*	The official closing date for reporting test results for this PT is October 21, 2016.

*	After the official closing date it is no longer possible to enter or correct test results via the data entry website www.kpmd.co.uk/sgs-iis/. When you cannot report via the website or for unforeseen reasons cannot report before the closing date, please inform the Institute for Interlaboratory Studies (iis).

*	For all communication (e.g. problems with the package/samples, login details for the data entry portal, not reporting in time) or any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 69 45 41

fax.no. +31 181 69 45 43

e-mail: iisnl@sgs.com

website: www.iisnl.com