Instructions to participants for the interlaboratory study Mercury on Naphtha iis16N01Hg

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the sample receipt confirmation form that you receive together with this package. Please complete the form and send it to iis (email iisnl@sgs.com or faxno. + 31 181 694543). When the bottles have been broken, please do not accept the package from the courier. Please note that we will only send replacement bottles at our cost when there is proof of the sample being broken upon receipt. This means that the consignee must report a broken bottle immediately. The consignee should take pictures of how the package and bottles looked upon arrival. We need these pictures to claim costs from the forwarders. The consignee should always mark any damage (dents, rips, leakage etc.) on the outside of the packages on the consignment note from the courier when it is delivered. Even minor damages should be reported. Please send copies of consignment notes and the pictures via email to nl.saman.iis@sgs.com.

*	This interlaboratory study concerns 2 different samples of Naphtha (1 * 0.5 L bottle, labelled #16047 and 1 * 0.5 L bottle, labelled #16048) for the determination of Mercury only. Please, check www.kpmd.co.uk/sgs-iis/  for the test scope.

*	Please treat the samples as if they were routine samples.

*	Please report your test results via www.kpmd.co.uk/sgs-iis/ before the closing date. Login details have been sent to you, but also can be requested via an email to iisnl@sgs.com.

- *	On the report page there is a column, titled “reference method”. In this column the method is mentioned, which will be used for the calculation of the z-scores. It is of utmost importance to know that it is NOT mandatory to use this reference method as test method. When you normally (routinely) use a test method other than the reference method, please select under ”Actual Method Used” the method that you used. When your method is not mentioned under ”Actual Method Used”, please select “Other” and place in the comments the method that you used.

*	Report the analytical results using the indicated units. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations. For example, when you use UOP938 for the determination of  Mercury and you found a result of 50.2351 µg/kg, we request you to report 50.235 µg/kg in accordance with UOP938 and 50.2351 µg/kg as ‘unrounded’ result.

- *	Within a time frame of five weeks test results can be entered. It is not needed to enter all test results in one session. Within the time frame mentioned on the website you can add (or delete) test results and/or change test results or units. Please, don’t forget to save the WEB entry tool after each session you enter results.

*	The official closing date for reporting test results for this PT is May 6, 2016.

*	After the official closing date it is not longer possible to enter or correct test results via the data entry website www.kpmd.co.uk/sgs-iis/. However, it is still possible to download the letter of instructions from our internet site www.iisnl.com. In the case you cannot report for unforeseen reasons before the closing date, please send an email to iisnl@sgs.com.

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 69 45 41

fax.no. +31 181 69 45 43

e-mail: iisnl@sgs.com

website: www.iisnl.com