Instructions to participants for the interlaboratory study Phosphorus Flame Retardants in Polymers (Plastic) iis16P01

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the sample receipt confirmation form that you received together with this package.

Please complete the form and send it to iis (email iisnl@sgs.com or faxno. + 31 181 694543).

*	This interlaboratory study concerns one sample of polymer (plastic), labelled #16500 for determination of Phosphorus Flame Retardants (TCEP and TDCPP). You received approx. 3 grams of the sample. Each laboratory is advised to perform only those analyses you routinely do (but you are allowed to do all analyses if you like). It might be wise to start with those tests which are most important to your laboratory, especially if the supplied sample amount seems to be critical. Please treat the samples as they were routine samples and analyse them in the way you normally do in day-to-day circumstances.

*	Please report your test results via www.kpmd.co.uk/sgs-iis-cts/. Login details have been sent to you, but also can be requested via an email to iisnl@sgs.com.

- *	On the report page is a column, titled “reference method”. In case a method is mentioned in this column, it will be used for the calculation of the z-scores. It is of utmost importance to know that it is NOT mandatory to use this ‘reference method’ as test method. When you normally (routinely) use a test method other than the reference method, please select the method that you used under ”Actual Method Used”. When your method is not mentioned under ”Actual Method Used”, please select “Other” and write the method that you used in the comments.

*	Please report the analytical results using the indicated units. Report in the last column the analytical results, rounded in accordance with the standard method that was used (if appropriate). Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations. For example, when you found a result of 324.213 mg/kg, we request you to report 324 mg/kg and 324.2 mg/kg as ‘unrounded’ result.

* 	Please enter also the requested test details under ‘Additional Questions’. This will help us in the interpretation of the proficiency test results.

- *	Within a time frame of 5 weeks test results can be entered or revised. It is not needed to enter all test results in one session. Within this period you can add (or delete) test results and/or change test results or units.

*	The official closing date for reporting test results for this PT is February 26, 2016.

*	After the official closing date it is not longer possible to enter or correct test results via the data entry website www.kpmd.co.uk/sgs-iis-cts/. However, it is still possible to download the Word report form (incl. instructions) from our internet site www.iisnl.com. In the case you cannot report via the website or for unforeseen reasons cannot report before the closing date, please send the completed Word document via email to iisnl@sgs.com or by fax to +31 181 694543.

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 69 45 41

fax.no. +31 181 69 45 43

e-mail: iisnl@sgs.com

website: www.iisnl.com