Instructions to participants for the interlaboratory study Metals in Polymer (Plastic) iis16P07

*	Please confirm sample receipt as soon as you have received and checked the contents of this package via www.kpmd.co.uk/sgs-iis-cts/.	Please inform the Institute for Interlaboratory Studies (iis) immediately when something is wrong with the package and/or samples.

*	This interlaboratory study concerns 2 different samples of polymer (plastic), #16600 and #16601 for determination of total Antimony, total Cadmium,  total Chromium, Chromium 6+, total Cobalt,  total Copper, total Lead, total Mercury and total Nickel contents. You received approx. 6 grams of each sample. Each laboratory is advised to determine only those metals you routinely do (but you are allowed to determine all metals if you like). It might be wise to start with those metals which are most important to your laboratory, especially if the supplied sample amount seems to be critical. Please treat the samples as they were routine samples and analyse them in the way you normally do in day-to-day circumstances.

*	Reporting of test results

Within a time frame of five weeks test results can be entered or revised. Please report your test results

via www.kpmd.co.uk/sgs-iis-cts/. It is not necessary to enter all test results in one session. Within the time frame you can add (or delete) test results and/or change test results or units. Please do not forget to hit the “Save/Submit” button after entering the test results. It is strongly recommended to login again and to verify if all your test results are present.

# *	On the report page is a column, titled “reference method”. In case a method is mentioned in this column, it will be used for the calculation of the z-scores. It is of utmost importance to know that it is NOT mandatory to use this ‘reference method’ as test method. When you normally (routinely) use a test method other than the reference method, please select the method that you used under ”Actual Method Used”. When your method is not mentioned under ”Actual Method Used”, please select “Other” and write the method that you used in the comments.

*	Please report the analytical results using the indicated units. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one extra significant figure) in order to give more meaningful statistical calculations. For example, when you use EN1122 for the determination of total Cadmium and you found a result of 20.934 mg/kg, we request you to report 20 mg/kg in accordance with EN1122 and 20.9 mg/kg as ‘unrounded’ result, but reporting 20.934 mg/kg will also be OK.

* 	Please report if your laboratory is accredited for the determination of the requested components.

*	The official closing date for reporting test results for this PT is September 16, 2016.

*	After the official closing date it is no longer possible to enter or correct test results via the data entry website www.kpmd.co.uk/sgs-iis-cts/. When you cannot report via the website or for unforeseen reasons cannot report before the closing date, please inform the Institute for Interlaboratory Studies (iis).

*	For all communication (e.g. problems with the package/samples, login details for the data entry portal, not reporting in time) or any remarks/questions please contact:

ing. R.J. Starink,

Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 69 45 41

fax.no. +31 181 69 45 43

e-mail: iisnl@sgs.com

website: www.iisnl.com