Instructions to participants for the interlaboratory study Nickel Release and surface determination iis16V03

*	Please confirm sample receipt as soon as you have received and checked the contents of this package, preferably using the sample receipt confirmation form that you received together with this package.

Please complete the form and send it to iis (email iisnl@sgs.com or faxno. + 31 181 694543).

*	This interlaboratory study concerns 1 sample of 3 pieces of non-coated metal plates containing Nickel, labelled #16575 and 1 spoon, labelled #16576 for surface determination only. Please, check the result entry website mentioned below for the test scopes.

*	Please use the metal spoon (sample #16576) only for surface determination and not for Nickel release.

*	Please test the samples as if they were routine samples and analyse them in the way you normally do in day-to-day circumstances.

*	Please report your test results via www.kpmd.co.uk/sgs-iis-cts/. Login details have been sent to you, but also can be requested via an email to iisnl@sgs.com. Please do not forget to save your results.

*	Please report the analytical results using the indicated units. Report in the last column the analytical results, rounded in accordance with the standard method that was used. Report in the first result column the same analytical results but less rounded (we suggest to report one or two extra significant figures) in order to give more meaningful statistical calculations. Please, do not report ”less than”-results which are above your detection limit. Results reported as ”less than” cannot be used for meaningful statistical calculations.

*	Please report the method used on the report form. If no Standard method is used, report the reference number of the 'in house' method that was used.

*	For sample #16575 it is important to report per metal piece; the volume of start solution before the sample was added, the number of days the sample was soaked, sample surface used for the calculation, the final volume (after dilution) of the end solution which was used for analysis, Nickel concentration found in end solution. You can leave these fields open for the average sample report form (called #16575-avg).

*	Please enter also the requested test details under ‘Additional Questions’. This will help us in the interpretation of the proficiency test results.

*	Within a time frame of 5 weeks test results you can add (or delete) test results and/or change test results. Please do not forget to save your results.

*	The official closing date for reporting test results for this PT is June 17, 2016.

*	After the official closing date it is not longer possible to enter or correct test results via the data entry website www.kpmd.co.uk/sgs-iis-cts/. However, it is still possible to download the instructions from our internet site www.iisnl.com. In the case that you cannot report for unforeseen reasons before the closing date, please, send an email to iisnl@sgs.com.

*	If you have any remarks/questions please contact:

ing. R.J. Starink, Institute for Interlaboratory Studies

P.O. box 200, NL-3200 AE Spijkenisse, The Netherlands

tel.no. +31 181 69 45 41

fax.no. +31 181 69 45 43

e-mail: iisnl@sgs.com

website: www.iisnl.com